# Logs

Play area (Checks undertaken quarterly)

| Person | Month | Completed |
| --- | --- | --- |
| ## Chris | February | OK |
| Neil | May | OK |
| Chris | August |  |
| Neil | November |  |

Meter Readings (monthly)

| Service | Reading | Date |
| --- | --- | --- |
| Oil from empty (50” = full) | 40” | 8/7/2012 |
| Water | 1024000 | 8/7/2012 |
| Electricity | 247439 | 8/7/2012 |

Safety Checks (monthly)

| Test | Result | Date |
| --- | --- | --- |
| Lighting – Front entrance Rear entrance Kitchen Main Hall exit Stage (lower15) Main Hall x3 Stairs & first floor (21) | OK OK OK OK OK OK OK | 8/7/2012 |
| Fire Bell | OK | 8/7/2012 |

Signed ___________________________________________  Date ___08/07/2012___

Print Name _________C Rispin_____________________________